## Sheet1
Facility | Town | Year of Permit | Design Capacity for Secondary Treatment | Capacity Notes | Permited Discharge Volume | N Limits | N Monitoring
PWD Cape Elizabeth | Cape Elizabeth | 2016 | 2.75 MGD |  | No Limit -- limits on BOD, TSS, but not volume to be reported |  |  | Instantaneous plant capacity to 2. 75 mgd
PWD East End | Portland | 2017 | 36.8 MGD | "The total treatment capacity of the treatment facility is 55,600 gpm (80 MOD). The primary treatment capacity is 30,000 gpm (43.2 MOD). | No Limit - -limits on BOD, TSS, but not volume to be reported |  | TKN nitrate +nitrite (?) , TN | Includes bypass flows too. 19.8 MGD dry weather design loading criteria.
Falmouth WWTF | Falmouth | 2013 | 1.56 MGD | "representative of mothly average design capacity…." | 1.56 MGD Monthly Average | No | No | No updated or draft permit on the EPA website. Falmouth upgraded prior to 2013 permit.
Freeport | Freeport | 2016 | 0.75 MGD |  | 0.75 MGPD Monthly Average | No | No | Reasonable Potential analysis suggests this discharge is not major contributor locally
PWD Peaks | Portland | 2017 | 0.20 MGD | Design capacity of 0.20 million gallons a day | No Discharge limit, but see notes for design capacity | No | TKN nitrate +nitrite (?) , TN
South Portland | South Portland | 2017 | 9.3 MGD | Not clear how SOPO handles higher flows / overflows. | No Limit - -limits on BOD, TSS, but volume to be reported | No | TKN nitrate +nitrite (?) , TN
PWD Westbrook | Westbrook | 2017 | 4.54 MGD |  | No Limit - -limits on BOD, TSS, but volume to be reported | No | No | Plant design capacity is a monthly average of 4.54 million gallons per day (MGD). Phosphorus discharge monitoing required
Yarmouth | Yarmouth | 2017 | 1.31 MGD |  | 1.31 MGD Monthly Average |  | TKN and NO3+NO2
Yarmouth Sea Meadows | Yarmouth | 2017 | 0.28 MGD |  | 0.028 MGD Monthly average